## ITEM1
Item 1
Projected Energy and Peak Demand for the First Ten Years
and Actual Data for the Previous Year
Columbia
Monthly Data
Actual Data 2002 | Jan | Feb | Mar | Apr | May | June | July | Aug | Sept | Oct | Nov | Dec
01 Peak Hour Demand | 180 | 191 | 184 | 204 | 224 | 246 | 271 | 276 | 247 | 231 | 168 | 186
02 Net Energy-GWh | 104 | 94 | 100 | 95 | 98 | 120 | 136 | 133 | 112 | 100 | 96 | 104
Reporting Year 2003 | Jan | Feb | Mar | Apr | May | June | July | Aug | Sept | Oct | Nov | Dec
03 Peak Hour Demand | 204 | 204 | 180 | 170 | 234 | 255 | 293 | 293 | 270 | 180 | 180 | 200
04 Net Energy-GWh | 117 | 100 | 98 | 94 | 102 | 124 | 147 | 141 | 122 | 88 | 103 | 112
Next Year 2004 | Jan | Feb | Mar | Apr | May | June | July | Aug | Sept | Oct | Nov | Dec
05 Peak Hour Demand | 208 | 208 | 184 | 180 | 236 | 260 | 299 | 299 | 275 | 190 | 183 | 208
06 Net Energy-GWh | 120 | 102 | 100 | 100 | 103 | 127 | 150 | 144 | 125 | 92 | 104 | 116
Actual Previous Year | Jan: Actual
Ten Year Projection | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012
07 Peak Hour Demand | 276 | 293 | 299 | 306 | 311 | 320 | 325 | 330 | 335 | 340 | 345
Summer
Winter | 2002/03 | 2003/04 | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13
08 Peak Hour Demand | 204 | 208 | 213 | 217 | 222 | 227 | 232 | 237 | 242 | 247 | 252
Actual
GWh | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012
09 Net Annual Energy | 1292 | 1348 | 1383 | 1421 | 1444 | 1486 | 1509 | 1532 | 1555 | 1579 | 1602
1/6/03

## ITEM2.1
Item 2.1
Projected Capacity and Demand for Ten Years
Summer
| Actual |  |  |  |  | Projected
Demand in Megawatts | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012
01 Internal Demand | 276 | 293 | 299 | 306 | 311 | 320 | 325 | 330 | 335 | 340 | 345
02 Standby Demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 Total Internal Demand (01+02) | 276 | 293 | 299 | 306 | 311 | 320 | 325 | 330 | 335 | 340 | 345
04 Direct Control Load Management | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05 Interruptible Demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06 Net Internal demand (03-04-05) | 276 | 293 | 299 | 306 | 311 | 320 | 325 | 330 | 335 | 340 | 345
Capacity, Net, in Megawatts
07 Committed Resources | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124
08 Distributed Generator Capacity >= 1 MW | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
09 Other Capacity >= 1 MW | 121.5 | 121.5 | 121.5 | 121.5 | 121.5 | 121.5 | 121.5 | 121.5 | 121.5 | 121.5 | 121.5
10 Distributed Generator Capacity < 1 MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 Other Capacity < 1 MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 Uncommitted Resources | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 Total Capacity (07+12) | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124
14 Inoperable Capacity | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 Net Operable Capacity (13-14) | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124
16 Capacity Purchases - Total | 221 | 232 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152 | 152
17 Full Responsibility Purchases | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 Capacity Sales - Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 Full Responsibility Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 Adjustment to Purchases and Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 Net Capacity Resources (15+16-18+20) | 345 | 356 | 276 | 276 | 276 | 276 | 276 | 276 | 276 | 276 | 276
1/6/03

## ITEM2.2
Item 2.2
Projected Capacity and Demand for Ten Years
Winter
| Actual |  |  |  |  | Projected
Demand in Megawatts | 02/03 | 03/04 | 04/05 | 05/06 | 06/07 | 07/08 | 08/09 | 09/10 | 10/11 | 11/12 | 12/13
01 Internal Demand | 204 | 208 | 213 | 217 | 222 | 227 | 232 | 237 | 242 | 247 | 252
02 Standby Demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
03 Total Internal Demand (01+02) | 204 | 208 | 213 | 217 | 222 | 227 | 232 | 237 | 242 | 247 | 252
04 Direct Control Load Management | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
05 Interruptible Demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
06 Net Internal demand (03-04-05) | 204 | 208 | 213 | 217 | 222 | 227 | 232 | 237 | 242 | 247 | 252
Capacity, Net, in Megawatts
07 Committed Resources | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124
08 Distributed Generator Capacity >= 1 MW | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
09 Other Capacity >= 1 MW | 121.5 | 121.5 | 121.5 | 121.5 | 121.5 | 121.5 | 121.5 | 121.5 | 121.5 | 121.5 | 121.5
10 Distributed Generator Capacity < 1 MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 Other Capacity < 1 MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 Uncommitted Resources | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 Total Capacity (07+12) | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124
14 Inoperable Capacity | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 Net Operable Capacity (13-14) | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124
16 Capacity Purchases - Total | 214 | 225 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145
17 Full Responsibility Purchases | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 Capacity Sales - Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 Full Responsibility Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 Adjustment to Purchases and Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 Net Capacity Resources (15+16-18+20) | 338 | 349 | 269 | 269 | 269 | 269 | 269 | 269 | 269 | 269 | 269
1/6/03

## ITEM4.1.1
Item 4.1.1
Projected Capacity Purchases
Summer
See Note Below
Selling |  | Selling
Entity |  | Entity's | Actual
EIA Code | Selling Entity Name | Region | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012
19436 | Ameren |  | 105 | 116 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
| BPU/KC |  | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
| City of Sikeston |  | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76
| City of Springfield |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| Southwest Power Ad |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
| Power Marketer |  | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
Note: When this data is sent to NERC, purchases will NOT show the companies involved. Purchases within MAIN are reconciled and
removed before sending to NERC. Purchases outside of MAIN will show the purchase as between MAIN and the other Region.
12/23/02

## ITEM4.1.2
Item 4.1.2
Projected Capacity Purchases
Winter
See Note Below
Selling |  | Selling
Entity |  | Entity's | Actual
EIA Code | Selling Entity Name | Region | 2002/03 | 2003/04 | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13
19436 | Ameren |  | 105 | 116 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
| BPU/KC |  | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
| City of Sikeston |  | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76
| City of Springfield |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| Southwest Power Ad |  | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
| Power Marketer |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Note: When this data is sent to NERC, purchases will NOT show the companies involved. Purchases within MAIN are reconciled and
removed before sending to NERC. Purchases outside of MAIN will show the purchase as between MAIN and the other Region.
12/23/02

## ITEM4.2.1
Item 4.2.1
Projected Capacity Sales
Summer
See Note Below
Purchasing |  | Purchasing
Entity |  | Entity's | Actual
EIA Code | Purchasing Entity Name | Region | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012
Note: When this data is sent to NERC, sales will NOT show the companies involved. Sales within MAIN are reconciled and
removed before sending to NERC. Sales outside of MAIN will show the sale as between MAIN and the other Region.
12/23/02

## ITEM4.2.2
Item 4.2.2
Projected Capacity Sales
Winter
See Note Below
Purchasing |  | Purchasing
Entity |  | Entity's | Actual
EIA Code | Purchasing Entity Name | Region | 2002/03 | 2003/04 | 2004/05 | 2005/06 | 2006/07 | 2007/08 | 2008/09 | 2009/10 | 2010/11 | 2011/12 | 2012/13
Note: When this data is sent to NERC, sales will NOT show the companies involved. Sales within MAIN are reconciled and
removed before sending to NERC. Sales outside of MAIN will show the sale as between MAIN and the other Region.
12/23/02

## Item 6
Item 6
Proposed Bulk Electric Transmission Line Additions
(230 kV and Above)
|  |  |  | Type of Entity |  | Line | [7 empty] | Circuits | Circuits |  | Capacity
Terminals |  |  | Entity | (C,F,I,M,S,O) |  | Length In | Line | Voltage | Nominal Voltage in kV |  | Conductor | Conductor | Bundling | Per Structure | Per Structure | Pole/Tower | Rating | Expected | Reporting
From Location | To Location | Entity Name | EIA Code | See note below | Percent of Ownership | Circuit Miles | Type | Type | Operating | Design | Size (MCM) | Material Type | Arrangement | Present | Ultimate | Type | (MVA) | Service Date | Entity
01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Note: Entity codes are: Cooperative (C), Federally-owned (F), Investor-owned (I), Municipality (M), State-owned (S) or other (O)
12/23/02

## RAS
NERC-RAS FORM 1
| 2002 |  |  | 2002/03
| SUMMER |  |  | WINTER
PEAK HOUR DEMAND | 276 |  |  | 204
NERC-RAS FORM 02.1 | INSTALLED GEN CAPABILITY SUMMER MW
ACTUAL
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012
NUCLEAR
HYDRO
PUMPED STORAGE
GEOTHERMAL
STEAM - COAL | 38.5 | 38.5 | 38.5 | 38.5 | 38.5 | 38.5 | 38.5 | 38.5 | 38.5 | 38.5 | 38.5
STEAM - OIL
STEAM - GAS
STEAM - DUAL FUEL | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
CT - OIL | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
CT - GAS
CT - DUAL FUEL | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5
CC - OIL
CC - GAS
CC - DUAL FUEL
OTHER | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
TOTAL CAPACITY | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124
NERC-RAS FORM 02.2 | INSTALLED GEN CAPABILITY WINTER MW
ACTUAL
| 02/03 | 03/04 | 04/05 | 05/06 | 06/07 | 07/08 | 08/09 | 09/10 | 10/11 | 11/12 | 12/13
NUCLEAR
HYDRO
PUMPED STORAGE
GEOTHERMAL
STEAM - COAL | 38.5 | 38.5 | 38.5 | 38.5 | 38.5 | 38.5 | 38.5 | 38.5 | 38.5 | 38.5 | 38.5
STEAM - OIL
STEAM - GAS
STEAM - DUAL FUEL | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
CT - OIL | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3
CT - GAS
CT - DUAL FUEL | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5
CC - OIL
CC - GAS
CC - DUAL FUEL
OTHER | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
TOTAL CAPACITY | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124 | 124
TRANSMISSION LINE
NERC-RAS FORM 05 | ACTUAL 02/03: CIRCUIT MILES
| AC |  |  |  | TOTAL | DC |  |  |  | TOTAL | AC&DC
| 230 | 345 | 500 | 765 | AC | 250-300 | 400 | 450 | 500 | DC | TOTAL
EXISTING (12/31/2002) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UNDER CONST. 2003-2007 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
UNDER CONST. 2008-2012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL (12/31/2012) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12/23/02